FBD-MSP-ZEW for Extraction of Nucleic Acids

Examiner: RDXXX /RDXXX in R&D department; 2016.10.14~10.18; Shanghai Laboratory

- Examination systems

Clinical specimens: cervical exfoliated cells, a total of four samples

Group B: Dynabeads Myone Magnetic Particles Silane

Group A: centrifuge extraction; Group C: FBD-MSP-ZEW

Methods: the standard protocol for qPCR and nucleic acid extraction

Batches: a total of three batches of FBD-MSP-ZEW tested

- Results

Part A. extraction efficacy of nucleic acids

Sample 1                                      Sample 2

Sample 3                                     Sample 4

Part B: reproducibility of the sample FBD-MSP-ZEW

Sample 1                                    Sample 2

- Conclusion

  - FBD-MSP-ZEW had higher efficacy to extract nucleic acids than Dynabeads Myone   Magnetic Particle Silane, both of which were better than the centrifuge extraction.

  - The three batches of FBD-MSP-ZEW gave Ct with CV <5%.

  - FBD-MSP-ZEW has promise for the extraction of nucleic acids in clinical specimens.